## Power Electronics Sourcing
House BUS - Power Electronics Sourcing Tracker (step 3)
Scope = conversion + 48V distribution + AC island. HV-TERMINAL items (DC-DC HV<->48V, contactors, pyro fuse, IMD, HV charge inlet/cable) live in the BATTERY tracker - cross-referenced, not duplicated.
Verdict from vetting: this is the most ADOPT-off-the-shelf subsystem - Victron / Gigavac-Bender ecosystem. Value-add = integration & packaging, not new converters. NACS-first, MCS-ready.
Tier A=build (not pursued here) ¦ B=quality off-the-shelf (the path) ¦ C=premium/OEM. Prices indicative.
Component | Tier | Maker | Model / part | Key spec | Voltage / role | Price low ($) | Price high ($) | Small-buyer access | Fit verdict | V1 pick | Notes / source
SHORE CHARGER + small convenience inverter (ALL-DC reframe)
| B | Victron | Skylla/Phoenix charger + Phoenix 800VA | shore AC->DC charge + small switchable inverter | AC<->48V | 400 | 1200 | Marine/RV dealers | V1: NO main inverter (all-DC). Charger for shore; ~1.5kW inverter (hair-dryer-driven) eco/off for rare AC-only | Y | all-DC: see DC_Native_Appliance_Audit.md
| B | EG4 / Growatt | 48V inverter/charger | cheaper alt | 48V->120V AC | 700 | 1400 | Direct | Only if a larger convenience inverter wanted |  | -
SOLAR MPPT / CHARGE CONTROL
| B | Victron | SmartSolar MPPT (250/100) | roof + deployable arrays | PV->48V | 800 | 2000 | Dealers | V1 pick; 1-2 units | Y | HV MPPT alt for direct-to-pack
48V DISTRIBUTION / PDM
| B | Victron | Lynx Distributor + busbars | fused 48V bus | 48V | 300 | 700 | Dealers | V1 pick | Y | -
| B | Eaton/Littelfuse/Blue Sea | MIDI / MEGA / ANL fuses | per-branch 48V | 48V | 100 | 300 | Off-the-shelf | Adopt | Y | matched to ampacity
12 / 5 V BUCK CONVERTERS
| B | Victron / generic | Orion-Tr + point-of-use buck | electronics/sensors/USB | 48->12/5V | 200 | 600 | Dealers | Bucked at point of use | Y | no long LV runs
SYSTEM MONITORING
| B | Victron | Cerbo GX + SmartShunt (+INA219) | pack/branch metering, VRM | 12/48V | 400 | 900 | Dealers | V1 pick; surfaces to Controls dash | Y | ties to Controls track
120 V AC DISTRIBUTION
| B | Blue Sea / generic | AC breaker panel + GFCI + shore inlet | wet-zone GFCI, surge | 120V AC | 300 | 700 | Off-the-shelf | Adopt; transfer sw in MultiPlus | Y | GFCI every wet circuit
(CROSS-REF: in BATTERY tracker)
| - | Vicor / Gigavac / Bender / Amphenol | DC-DC HV<->48V, contactors, IMD, charge inlet | HV-terminal | 400V |  |  | see Battery tracker | Not duplicated here |  | House_BUS_Battery_Sourcing.xlsx
V1 POWER-ELECTRONICS (excl. HV-terminal items in Battery tracker) - indicative total: | [5 empty] | 2500 | 6400 |  | + HV-terminal items in Battery tracker

## Decision & V2 Roadmap
House BUS - Power Electronics: Decision & V2 Roadmap
VERDICT: the most ADOPT-off-the-shelf subsystem on the bus - and that's correct. Victron (inverter/charger + MPPT + monitoring), plus Gigavac/Bender + Vicor on the HV side (in the Battery tracker). Reinventing any of it would be vanity that steals engineering from the battery and thermal cores. Value-add = integration & packaging (distribution bay, busbars, fusing layout, single-line diagram).
SCOPE SPLIT: HV-terminal parts (DC-DC HV<->48V, contactors, pyro fuse, IMD, HV charge inlet + cable) are tracked in House_BUS_Battery_Sourcing.xlsx (TJ: 'anything that connects to the battery is battery'). This sheet = 48V distribution, AC inverter/charger, solar MPPT, 12/5V buck, monitoring, 120V AC distribution.
CHARGING: NACS-first (mature ~250 kW workhorse), MCS-ready inlet (MCS real but early - IEC TS 63379 Feb 2026, first NA session Mar 2026, depot/hub-scale). J1772/CCS via adapter only.
OPEN (from vetting): inverter feed 48V-fed vs HV(400V)-fed (sizes the 48V backbone); Vicor BCM module count/redundancy; bidirectional DC-DC yes/no; MCS inlet standard; dedicated onboard AC charger vs rely on Victron charger.
V2 HEADROOM: 800V-native DC-DC (Vicor spans it) + HV-fed inverter option; MCS inlet as standard matures; bidirectional DC-DC for V2G / solar-to-traction assist.
ALL-DC REFRAME (2026-06-29): the 120 V AC island + ~5 kW always-on inverter are DELETED. Bus runs 48/24/12 V + USB-C PD via point-of-use bucks; cooking = 48 V DC induction. A shore AC->DC charger stays; a small switchable inverter (~1.5 kW, hair-dryer-driven, eco/off) is a convenience backstop only. Saves ~0.5-1.2 kWh/day idle + ~10-20% conversion loss on electronics, plus weight/cost. Full audit: DC_Native_Appliance_Audit.md.

## Sources
Source | URL
Vicor HV-to-48V modules | https://www.vicorpower.com/industries-and-innovations/vicor-48v/hv-to-48v
Victron MultiPlus-II | https://www.victronenergy.com/inverters-chargers/multiplus-ii
Victron SmartSolar MPPT | https://www.victronenergy.com/solar-charge-controllers
MCS deployment 2026 | https://electrek.co/2026/03/26/this-chargers-first-megawatt-truck-charge-hits-north-america/
CharIN MCS | https://www.charin.global/technology/mcs/