## Sourcing
House BUS - Water Sourcing Tracker (step 3)
V2 bus. Adopt off-the-shelf; integrate the closed loop ourselves (Showerloop-led shower + condensate + urine->hydroponics brine bleed).
Tier A=build/integrate ¦ B=adopt off-the-shelf. Prices indicative.
Component | Tier | Maker | Model / part | Key spec | Price low ($) | Price high ($) | Fit verdict | V1 pick | Notes / source
COMPOSTING TOILET + URINE SEP
| B | Nature's Head / Separett / OGO | urine-diverting composting WC | fan; urine to tank | 1000 | 1500 | adopt | Y | cruiser-proven
RETICULATING SHOWER
| A/B | Showerloop / Orbital / Hamwells | real-time recycle+filter+UV+heat | ~10-15 gal loop | 1500 | 5000 | Showerloop = open-source | Y | ethos fit; integrate
WATER DISINFECTION (UV)
| B | Acuva (LED) / Viqua | on-demand 12V UV | point-of-use | 400 | 1200 | adopt (Acuva LED) | Y | instant, low power
SALT BLEED (urine->hydro)
| A | small RO / electrodialysis | Na accumulation bleed | brine out | 500 | 2000 | self-build integration | Y | MELiSSA throughline
DC PUMPS
| B | Shurflo / Seaflo / Flojet | 12/24V DC pumps | pressure + transfer | 150 | 500 | adopt | Y | standard RV/marine
TANKS + RAINWATER
| A/B | SS drinking (fab) + poly grey + diverter | drinking isolated; rainwater | two-water | 800 | 2500 | adopt + fab tank | Y | external potable fill
FILTRATION
| B | sediment + carbon | pre-filter | particulates | 200 | 600 | adopt | Y | -
V1 PICKS - indicative total: |  |  |  |  | 4550 | 13300

## Decision & V2
House BUS - Water - Decision & V2 Roadmap
DECISION: adopt toilet/UV/pumps/tanks off-the-shelf; the value-add is the CLOSED-LOOP INTEGRATION - Showerloop (open-source) reticulating shower + condensate harvest + urine->hydroponics nutrient/brine management.
Two-water principle (drinking isolated from wash). Condensate = washing only.
Open: water-inventory sizing (sets bath/hydro footprint over the pack); Showerloop vs Orbital vs Hamwells; salt-bleed method; condensate plumbing + UV placement.

## Sources
Source | URL
Nature's Head | https://natureshead.net/
Separett | https://separett.com/en/en/
Showerloop (open-source) | https://showerloop.org/
Acuva UV-LED | https://nomadicsupply.com/acuva-wanderer-2-0-12v-ac-dc-uv-led-water-purifier/
Viqua 12VDC UV | https://espwaterproducts.com/products/viqua-s2q-p-12vdc-uv-system-3-gpm-12vdc